CENTRIFUGAL FANS - High-Pressure Air Moving Equipment for Process & Ventilation

Product Overview:

Centrifugal Fans, also called industrial blowers, use a rotating impeller to increase the velocity of air/gas and convert it into pressure. A critical component in boiler systems that pulls flue gases out of the furnace and pushes them up the chimney. By creating a negative pressure (draft) inside the boiler, it ensures safe operation and continuous combustion. They are designed for high-pressure applications where axial fans cannot deliver required static pressure. Used for dust collection, combustion air, drying, cooling, and pneumatic conveying.

Ideal For:

- Boiler ID/FD/SA fans

- Dust collectors

- Bag filters

- Cyclones

- Chemical & Fertilizer Plants

Key Features:

- High Static Pressure: Delivers 10x more pressure than axial fans. Essential for ducting, filters, cyclones

- Multiple Blade Types:

- Backward Curved: High efficiency 80-85%, for clean air

- Forward Curved: Compact, low noise

- Radial Blade: Self-cleaning, for heavy dust/chips, Aero foil

- Energy Efficient: Aerodynamically designed impellers with VFD option save 20-40% power.

- Robust Construction: Heavy-duty bearings, vibration isolators for 24x7 operations.

- Low Noise: Scroll casing and inlet cone reduce turbulence and noise levels.

- Customizable: Inlet/outlet orientation, spark-proof, high-temp, weatherproof options.

- Easy Maintenance: Split casing & easy belt access for quick service.

Technical Specifications:

- Capacity Range: 500 CMH to 3,00,000 CMH

- Temp: Up to 300°C with suitable material selection

- Types of Impellers: Backward Curved / Forward Curved / Radial Blade / Aero foil

- Types of Drive: Direct Drive / Belt Drive / Coupled Drive

- MOC: Carbon Steel ( IS2062) / SS304 / SS316