AXIAL FLOW FANS - High-Volume, Low-Pressure Air Moving Equipment for Ventilation & Cooling

Product Overview:

Axial Flow Fans move air/gas parallel to the fan axis using a propeller-type impeller. They deliver large    air volumes at low static pressure with minimum power consumption. Best suited for general ventilation and exhaust applications where system resistance is low.

Ideal For:

- Factory ventilation

- Heat exchangers

- Transformers

- Tunnel ventilation

- Warehouse exhaust

Key Features:

- High Air Volume: Moves 3-5x more air than centrifugal fan of same motor HP at low pressure.

- Compact & Lightweight: Straight-through design needs less space. Easy wall/roof mounting.

- Low Power Consumption: High efficiency 70-80% at best efficiency point for ventilation duty.

- Multiple Configurations:

- Tube Axial: Fan in cylindrical housing for duct mounting

- Propeller: Free air delivery, wall mounted exhaust

- Reversible Option: 100% airflow in both directions for supply/exhaust mode.

- Low Maintenance: Direct drive models have no belts. External rotor has sealed bearings.

- Corrosion Resistant: FRP/PP fans for chemical fumes, cooling towers, STP plants.

- Low Noise Options: Aerofoil blades, 6-12 blades reduce noise vs 3-4 blade models.

Technical Specifications:

- Capacity Range: 1,000 CMH to 50,000 CMH

- Temp: Up to 300°C with suitable blade material

- Types of Drive: Direct Drive / Belt Drive

- MOC: Carbon Steel ( IS2062) / SS304 / SS316