# IFM (Insert Filter Module):

# Product Overview:

Insert Filter Module (IFM) is a compact dust collection system designed to control airborne dust generated during material transfer, storage, and processing operations. It is installed directly on silos, bins, hoppers, conveyors, or enclosed process equipment to capture dust at the source. The unit ensures effective filtration, cleaner working conditions, reduced emissions, and compliance with environmental standards. Commonly used in cement, power, mining, chemical, and bulk material handling industries.

# Ideal For:

- Dust extraction at transfer points, hoppers, silos, and enclosed material handling systems

- Industries handling powdery materials like cement, fly ash, coal dust, minerals, and chemicals

- Maintaining clean air and reducing particulate emissions in plant areas

# Key Features:

- Compact design for easy integration into existing systems.

- High-efficiency filter cartridges/bags for fine dust collection

- Continuous dust removal with pulse jet cleaning mechanism

- Low maintenance and easy filter replacement

- Heavy-duty steel construction with corrosion-resistant finish

- Suitable for indoor and outdoor industrial applications

# Technical Specifications:

- Capacity Range: 500 CMH to 5,000 CMH

- Type of Application: Modular Dust Collection / Fume Extraction / Process Filtration Systems

- Temp: Up to 150°C with suitable filter media

- Types of Filter Media: Polyester / PTFE Coated / Nomex / Cartridge Filters

- Types of Cleaning: Pulse Jet Automatic Cleaning System

- MOC: Carbon Steel ( IS2062) / SS304 / SS316